## Case Study 1
Mainstreaming Nature-based Solutions Common Value Framework
Case Study 1: Green/grey hybrid solution
Problem: | Event duration monitor (EDM) data identified the combined storm overflow (CSO) as a high spiller. The CSO operates inefficiently and does not meet consented Pass Forward Flow.
Solution: | Storage tank, new smart control and upgrades to the sewage pumping station, and 5 Natural Flood Management schemes (two of which are school schemes within the catchment).
Source of data for completing appraisal: | Specific location based data not required - the schools are known but not the locations of any of the NFM schemes. Observed data on the problem is used for inputting into the pre-solution risk position. Data on impacts is taken from standard data about grey and green solutions (e.g. GHG emissions) and a high level understanding of the NFM solutions is required to estimate the land use area.
Appraisal years: | 2023-24 to 2072-73, 50 years (inclusive of start and end years)
Step 1: Select the relevant Service Measures to represent the solution
| Service Measure | Impact category | Units
| Intermittent discharge consent compliance (spills) | Network - Breach of Consent Conditions (technical) | Nr of events
| Pollution Incidents | Category 1 pollution incident (wastewater) - Major incident | Nr of incidents
| External sewer flooding | Hydraulic - External flooding of residential properties | Nr of properties per incident
| External contacts | Customer Complaint | Nr of complaints
|  | Environmental Health Involvement | Nr of incidents
| Greenhouse gas emissions | GHG emissions - indirect other (scope 2), embodied | tCO2e
|  | GHG emissions - indirect other (scope 3), operational | tCO2e
| Community engagement | Educational visits (e.g. school engagement) | Number of children benefitting
| Rainwater management | Surface water intercepted/harvested | Ml/yr
| Habitat Impact (incl. biodiversity) | Bare ground / hard standing | Area (ha)
|  | Urban wetland --- good | Area (ha)
|  | Urban grassland (greenspace) --- good | Area (ha)
Step 2: Calculate the annual risk position pre solution
| Service Measure | Impact Category | Units | Frequency (pre solution) | Quantity (pre solution) | CVF Value | Risk Value
Investment needs | Intermittent discharge consent compliance (spills) | Network - Breach of Consent Conditions (technical) | Nr of events | 1 | 36 | 0 | 0
| External contacts | Customer Complaint | Nr of complaints | 1 | 0.1 | 41.902 | 4.1902
| Pollution Incidents | Category 1 pollution incident (wastewater) - Major incident | Nr of incidents | 1 | 0.25 | 1574427.7086 | 393606.9271
| External contacts | Environmental Health Involvement | Nr of incidents | 1 | 0.25 | 0 | 0
| External sewer flooding | Hydraulic - External flooding of residential properties | Nr of properties per incident | 0.1 | 50 | 993.8161 | 4969.0803
| Greenhouse gas emissions | GHG emissions - indirect other (scope 3) | tCO2e | 0 | 0 | 443.8239 | 0
Investment opportunities | Community engagement | Educational visits (e.g. school engagement) | Number of children benefitting | 0 | 0 | -30.047 | 0
| Rainwater management | Surface water intercepted/harvested | Ml/yr | 0 | 0 | -1084.5903 | 0
| Habitat Impact (incl. biodiversity) | Bare ground / hard standing | Area (ha) | 1 | 1 | 1215.696 | 1215.696
| Habitat Impact (incl. biodiversity) | Urban wetland --- good | Area (ha) and Condition (poor, moderate, good) | 0 | 0 | -8324.0046 | 0
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- good | Area (ha) and Condition (poor, moderate, good) | 0 | 0 | -9846.2512 | 0
[6 empty] | Total annual risk value (pre solution): | 399795.8936
Step 3: Calculate the annual risk position post solution
| Service Measure | Impact Category | Units | Frequency (post solution) | Quantity (post solution) | CVF Value | Risk Value
Investment needs | Intermittent discharge consent compliance (spills) | Network - Breach of Consent Conditions (technical) | Nr of events | 0 | 0 | 0 | 0
| External contacts | Customer Complaint | Nr of complaints | 0 | 0 | 41.902 | 0
| Pollution Incidents | Category 1 pollution incident (wastewater) - Major incident | Nr of incidents | 0 | 0 | 1574427.7086 | 0
| External contacts | Environmental Health Involvement | Nr of incidents | 0 | 0 | 0 | 0
| External sewer flooding | Hydraulic - External flooding of residential properties | Nr of properties per incident | 0.02 | 20 | 993.8161 | 397.5264
| Greenhouse gas emissions | GHG emissions - indirect other (scope 3) | tCO2e | 1 | 440 | 443.8239 | 195282.5011
Investment opportunities | Community engagement | Educational visits (e.g. school engagement) | Number of children benefitting | 1 | 148 | -30.047 | -4446.9543
| Rainwater management | Surface water intercepted/harvested | Ml/yr | 1 | 9 | -1084.5903 | -9761.313
| Habitat Impact (incl. biodiversity) | Bare ground / hard standing | Area (ha) | 1 | 0 | 1215.696 | 0
| Habitat Impact (incl. biodiversity) | Urban wetland --- good | Area (ha) and Condition (poor, moderate, good) | 1 | 0.4 | -8324.0046 | -3329.6018
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- good | Area (ha) and Condition (poor, moderate, good) | 1 | 0.6 | -9846.2512 | -5907.7507
[6 empty] | Total annual risk value (post solution): | 172234.4077
Step 4: Calculate the annual benefit from the solution, PVB and BCR
| Annual benefit from the solution = Total annual risk value (pre-solution) - Total annual risk value (post solution) |  | 227561.4859
| Present Value Cost | Present Value Benefit (PVB) | Appraisal period (years) | Benefit Cost Ratio (BCR)
| 3000000 | 5807680.4395 | 50 | 1.9359
| Appraisal window | Social time preference rate (STPR) | Source
| STPR (standard 0 - 30 years) | 3.5% | HM Treasury Green Book
| STPR (standard 31 - 75 years) | 3%
| STPR (standard 76 - 125 years) | 2.5%
Discount rate table
| Discount Rate Used | Period | Year | Discount rate |  | Year | Annual benefit | Discounted annual benefit
| 0-30yrs | 0 | 2025 | 1 |  | 2025 | 227561.4859 | 227561.4859
| 0-30yrs | 1 | 2026 | 0.96618 |  | 2026 | 227561.4859 | 219866.1699
| 0-30yrs | 2 | 2027 | 0.93351 |  | 2027 | 227561.4859 | 212431.0821
| 0-30yrs | 3 | 2028 | 0.90194 |  | 2028 | 227561.4859 | 205247.4223
| 0-30yrs | 4 | 2029 | 0.87144 |  | 2029 | 227561.4859 | 198306.6882
| 0-30yrs | 5 | 2030 | 0.84197 |  | 2030 | 227561.4859 | 191600.6649
| 0-30yrs | 6 | 2031 | 0.8135 |  | 2031 | 227561.4859 | 185121.4154
| 0-30yrs | 7 | 2032 | 0.78599 |  | 2032 | 227561.4859 | 178861.2709
| 0-30yrs | 8 | 2033 | 0.75941 |  | 2033 | 227561.4859 | 172812.8221
| 0-30yrs | 9 | 2034 | 0.73373 |  | 2034 | 227561.4859 | 166968.9103
| 0-30yrs | 10 | 2035 | 0.70892 |  | 2035 | 227561.4859 | 161322.6186
| 0-30yrs | 11 | 2036 | 0.68495 |  | 2036 | 227561.4859 | 155867.2644
| 0-30yrs | 12 | 2037 | 0.66178 |  | 2037 | 227561.4859 | 150596.3907
| 0-30yrs | 13 | 2038 | 0.6394 |  | 2038 | 227561.4859 | 145503.7591
| 0-30yrs | 14 | 2039 | 0.61778 |  | 2039 | 227561.4859 | 140583.3421
| 0-30yrs | 15 | 2040 | 0.59689 |  | 2040 | 227561.4859 | 135829.3161
| 0-30yrs | 16 | 2041 | 0.57671 |  | 2041 | 227561.4859 | 131236.0542
| 0-30yrs | 17 | 2042 | 0.5572 |  | 2042 | 227561.4859 | 126798.12
| 0-30yrs | 18 | 2043 | 0.53836 |  | 2043 | 227561.4859 | 122510.2609
| 0-30yrs | 19 | 2044 | 0.52016 |  | 2044 | 227561.4859 | 118367.4018
| 0-30yrs | 20 | 2045 | 0.50257 |  | 2045 | 227561.4859 | 114364.6394
| 0-30yrs | 21 | 2046 | 0.48557 |  | 2046 | 227561.4859 | 110497.2361
| 0-30yrs | 22 | 2047 | 0.46915 |  | 2047 | 227561.4859 | 106760.6146
| 0-30yrs | 23 | 2048 | 0.45329 |  | 2048 | 227561.4859 | 103150.3523
| 0-30yrs | 24 | 2049 | 0.43796 |  | 2049 | 227561.4859 | 99662.1761
| 0-30yrs | 25 | 2050 | 0.42315 |  | 2050 | 227561.4859 | 96291.9576
| 0-30yrs | 26 | 2051 | 0.40884 |  | 2051 | 227561.4859 | 93035.7079
| 0-30yrs | 27 | 2052 | 0.39501 |  | 2052 | 227561.4859 | 89889.5728
| 0-30yrs | 28 | 2053 | 0.38165 |  | 2053 | 227561.4859 | 86849.8288
| 0-30yrs | 29 | 2054 | 0.36875 |  | 2054 | 227561.4859 | 83912.8781
| 0-30yrs | 30 | 2055 | 0.35628 |  | 2055 | 227561.4859 | 81075.2445
| 31-75yrs | 31 | 2056 | 0.39999 |  | 2056 | 227561.4859 | 91021.6691
| 31-75yrs | 32 | 2057 | 0.38834 |  | 2057 | 227561.4859 | 88370.5525
| 31-75yrs | 33 | 2058 | 0.37703 |  | 2058 | 227561.4859 | 85796.6529
| 31-75yrs | 34 | 2059 | 0.36604 |  | 2059 | 227561.4859 | 83297.7213
| 31-75yrs | 35 | 2060 | 0.35538 |  | 2060 | 227561.4859 | 80871.5741
| 31-75yrs | 36 | 2061 | 0.34503 |  | 2061 | 227561.4859 | 78516.0913
| 31-75yrs | 37 | 2062 | 0.33498 |  | 2062 | 227561.4859 | 76229.2149
| 31-75yrs | 38 | 2063 | 0.32523 |  | 2063 | 227561.4859 | 74008.9465
| 31-75yrs | 39 | 2064 | 0.31575 |  | 2064 | 227561.4859 | 71853.3461
| 31-75yrs | 40 | 2065 | 0.30656 |  | 2065 | 227561.4859 | 69760.5302
| 31-75yrs | 41 | 2066 | 0.29763 |  | 2066 | 227561.4859 | 67728.6701
| 31-75yrs | 42 | 2067 | 0.28896 |  | 2067 | 227561.4859 | 65755.9904
| 31-75yrs | 43 | 2068 | 0.28054 |  | 2068 | 227561.4859 | 63840.7674
| 31-75yrs | 44 | 2069 | 0.27237 |  | 2069 | 227561.4859 | 61981.3275
| 31-75yrs | 45 | 2070 | 0.26444 |  | 2070 | 227561.4859 | 60176.0461
| 31-75yrs | 46 | 2071 | 0.25674 |  | 2071 | 227561.4859 | 58423.3458
| 31-75yrs | 47 | 2072 | 0.24926 |  | 2072 | 227561.4859 | 56721.6949
| 31-75yrs | 48 | 2073 | 0.242 |  | 2073 | 227561.4859 | 55069.6067
| 31-75yrs | 49 | 2074 | 0.23495 |  | 2074 | 227561.4859 | 53465.6376
| 31-75yrs | 50 | 2075 | 0.22811 |  | 2075 | 227561.4859 | 51908.386
5807680.4395

## Case Study 2
Mainstreaming Nature-based Solutions Common Value Framework
Case Study 2: Water supply (low pressure) optioneering
Problem: | Complaints are received about low pressure at residential taps in an area where all properties get their water supply from the same source (approx. 1200 properties). The problem is due to tuberculation impeding flow, which also introduces aesthetic issues, such as discolouration. There has also been infrequent unplanned interruption to supply which could get worse.
Solution: | Option 1: Replacement of all water supply assets around the tuberculation, which introduces a significant planned interruption to supply.
Source of data for completing appraisal: | The location of the solution needed is known, and current customer impact data informs the pre-solution state. Past information on asset replacement informs supply interruption severity and quantity.
Appraisal years: | 2023-24 to 2072-73, 50 years (inclusive of start and end years)
Step 1: Select the relevant Service Measures to represent the solution
| Service Measure | Impact category | Units
| Water pressure | Low pressure noticed by customer but above or at acceptable level | Nr of properties per incident
|  | Properties at risk of addition to low pressure register | Nr of properties
| External contacts | Customer Complaint | Nr of complaints
| Drinking water quality (appearance, taste and odour) | Appearance Complaints - discoloured water (brown/black/orange) | Nr of contacts per incident
| Unplanned interruptions | >3 to 6 Hour Interruption to Supply | Nr of properties per incident
| Planned interruptions | 3 to 6 hour interruption to Supply - residential property | Nr of properties per interruption
Step 2: Calculate the annual risk position pre solution
| Service Measure | Impact Category | Units | Frequency (pre solution) | Quantity (pre solution) | CVF Value | Risk Value
Investment needs | Water pressure | Low pressure noticed by customer but above or at acceptable level | Nr of properties per incident | 6 | 50 | 4933.2446 | 1479973.3848
| Water pressure | Properties at risk of addition to low pressure register | Nr of properties | 1 | 1200 | 0 | 0
| External contacts | Customer Complaint | Nr of complaints | 1 | 50 | 41.902 | 2095.0985
| Drinking water quality (appearance, taste and odour) | Appearance Complaints - discoloured water (brown/black/orange) | Nr of contacts per incident | 6 | 25 | 382.2587 | 57338.8109
| Unplanned interruptions | >3 to 6 Hour Interruption to Supply | Nr of properties per incident | 0.5 | 10 | 1059.6318 | 5298.159
Investment opportunities | Planned interruptions | 3 to 6 hour interruption to Supply - residential property | Nr of properties per interruption | 0 | 0 | 63.3279 | 0
[6 empty] | Total annual risk value (pre solution): | 1544705.4533
Step 3: Calculate the annual risk position post solution
| Service Measure | Impact Category | Units | Frequency (pre solution) | Quantity (pre solution) | CVF Value | Risk Value
Investment needs | Water pressure | Low pressure noticed by customer but above or at acceptable level | Nr of properties per incident | 0 | 0 | 4933.2446 | 0
| Water pressure | Properties at risk of addition to low pressure register | Nr of properties | 0 | 0 | 0 | 0
| External contacts | Customer Complaint | Nr of complaints | 0 | 0 | 41.902 | 0
| Drinking water quality (appearance, taste and odour) | Appearance Complaints - discoloured water (brown/black/orange) | Nr of contacts per incident | 0 | 0 | 382.2587 | 0
| Unplanned interruptions | >3 to 6 Hour Interruption to Supply | Nr of properties per incident | 0.01 | 10 | 1059.6318 | 105.9632
Investment opportunities | Planned interruptions | 6 to 12 hour interruption to Supply - residential property | Nr of properties per interruption | 1 | 1200 | 85.0478 | 102057.3845
[6 empty] | Total annual risk value (post solution): | 102163.3476
Step 4: Calculate the annual benefit from the solution, PVB and BCR
| Annual benefit from the solution = Total annual risk value (pre-solution) - Total annual risk value (post solution) |  | 1442542.1056
| Present Value Cost | Present Value Benefit (PVB) | Appraisal period (years) | Benefit Cost Ratio (BCR)
| 10000000 | 36815648.0332 | 50 | 3.6816
| Appraisal window | Social time preference rate (STPR) | Source
| STPR (standard 0 - 30 years) | 3.5% | HM Treasury Green Book
| STPR (standard 31 - 75 years) | 3%
| STPR (standard 76 - 125 years) | 2.5%
Discount rate table
| Discount Rate Used | Period | Year | Discount rate |  | Year | Annual benefit | Discounted annual benefit
| 0-30yrs | 0 | 2025 | 1 |  | 2025 | 1442542.1056 | 1442542.1056
| 0-30yrs | 1 | 2026 | 0.96618 |  | 2026 | 1442542.1056 | 1393760.4885
| 0-30yrs | 2 | 2027 | 0.93351 |  | 2027 | 1442542.1056 | 1346628.4914
| 0-30yrs | 3 | 2028 | 0.90194 |  | 2028 | 1442542.1056 | 1301090.3298
| 0-30yrs | 4 | 2029 | 0.87144 |  | 2029 | 1442542.1056 | 1257092.1061
| 0-30yrs | 5 | 2030 | 0.84197 |  | 2030 | 1442542.1056 | 1214581.745
| 0-30yrs | 6 | 2031 | 0.8135 |  | 2031 | 1442542.1056 | 1173508.9324
| 0-30yrs | 7 | 2032 | 0.78599 |  | 2032 | 1442542.1056 | 1133825.0554
| 0-30yrs | 8 | 2033 | 0.75941 |  | 2033 | 1442542.1056 | 1095483.1454
| 0-30yrs | 9 | 2034 | 0.73373 |  | 2034 | 1442542.1056 | 1058437.8216
| 0-30yrs | 10 | 2035 | 0.70892 |  | 2035 | 1442542.1056 | 1022645.2383
| 0-30yrs | 11 | 2036 | 0.68495 |  | 2036 | 1442542.1056 | 988063.0321
| 0-30yrs | 12 | 2037 | 0.66178 |  | 2037 | 1442542.1056 | 954650.2726
| 0-30yrs | 13 | 2038 | 0.6394 |  | 2038 | 1442542.1056 | 922367.4131
| 0-30yrs | 14 | 2039 | 0.61778 |  | 2039 | 1442542.1056 | 891176.2446
| 0-30yrs | 15 | 2040 | 0.59689 |  | 2040 | 1442542.1056 | 861039.8498
| 0-30yrs | 16 | 2041 | 0.57671 |  | 2041 | 1442542.1056 | 831922.5602
| 0-30yrs | 17 | 2042 | 0.5572 |  | 2042 | 1442542.1056 | 803789.9133
| 0-30yrs | 18 | 2043 | 0.53836 |  | 2043 | 1442542.1056 | 776608.6118
| 0-30yrs | 19 | 2044 | 0.52016 |  | 2044 | 1442542.1056 | 750346.4849
| 0-30yrs | 20 | 2045 | 0.50257 |  | 2045 | 1442542.1056 | 724972.4492
| 0-30yrs | 21 | 2046 | 0.48557 |  | 2046 | 1442542.1056 | 700456.4726
| 0-30yrs | 22 | 2047 | 0.46915 |  | 2047 | 1442542.1056 | 676769.5388
| 0-30yrs | 23 | 2048 | 0.45329 |  | 2048 | 1442542.1056 | 653883.6123
| 0-30yrs | 24 | 2049 | 0.43796 |  | 2049 | 1442542.1056 | 631771.6061
| 0-30yrs | 25 | 2050 | 0.42315 |  | 2050 | 1442542.1056 | 610407.3489
| 0-30yrs | 26 | 2051 | 0.40884 |  | 2051 | 1442542.1056 | 589765.5545
| 0-30yrs | 27 | 2052 | 0.39501 |  | 2052 | 1442542.1056 | 569821.7918
| 0-30yrs | 28 | 2053 | 0.38165 |  | 2053 | 1442542.1056 | 550552.4558
| 0-30yrs | 29 | 2054 | 0.36875 |  | 2054 | 1442542.1056 | 531934.7399
| 0-30yrs | 30 | 2055 | 0.35628 |  | 2055 | 1442542.1056 | 513946.6086
| 31-75yrs | 31 | 2056 | 0.39999 |  | 2056 | 1442542.1056 | 576998.2986
| 31-75yrs | 32 | 2057 | 0.38834 |  | 2057 | 1442542.1056 | 560192.5229
| 31-75yrs | 33 | 2058 | 0.37703 |  | 2058 | 1442542.1056 | 543876.2358
| 31-75yrs | 34 | 2059 | 0.36604 |  | 2059 | 1442542.1056 | 528035.1804
| 31-75yrs | 35 | 2060 | 0.35538 |  | 2060 | 1442542.1056 | 512655.515
| 31-75yrs | 36 | 2061 | 0.34503 |  | 2061 | 1442542.1056 | 497723.801
| 31-75yrs | 37 | 2062 | 0.33498 |  | 2062 | 1442542.1056 | 483226.9912
| 31-75yrs | 38 | 2063 | 0.32523 |  | 2063 | 1442542.1056 | 469152.4187
| 31-75yrs | 39 | 2064 | 0.31575 |  | 2064 | 1442542.1056 | 455487.7851
| 31-75yrs | 40 | 2065 | 0.30656 |  | 2065 | 1442542.1056 | 442221.1506
| 31-75yrs | 41 | 2066 | 0.29763 |  | 2066 | 1442542.1056 | 429340.9229
| 31-75yrs | 42 | 2067 | 0.28896 |  | 2067 | 1442542.1056 | 416835.8475
| 31-75yrs | 43 | 2068 | 0.28054 |  | 2068 | 1442542.1056 | 404694.9976
| 31-75yrs | 44 | 2069 | 0.27237 |  | 2069 | 1442542.1056 | 392907.7646
| 31-75yrs | 45 | 2070 | 0.26444 |  | 2070 | 1442542.1056 | 381463.8491
| 31-75yrs | 46 | 2071 | 0.25674 |  | 2071 | 1442542.1056 | 370353.2516
| 31-75yrs | 47 | 2072 | 0.24926 |  | 2072 | 1442542.1056 | 359566.2637
| 31-75yrs | 48 | 2073 | 0.242 |  | 2073 | 1442542.1056 | 349093.4599
| 31-75yrs | 49 | 2074 | 0.23495 |  | 2074 | 1442542.1056 | 338925.6892
| 31-75yrs | 50 | 2075 | 0.22811 |  | 2075 | 1442542.1056 | 329054.0672
36815648.0332

## Case Study 3
Mainstreaming Nature-based Solutions Common Value Framework
Case Study 3: Wastewater optioneering: NbS solution and grey solution
Problem: | The combined storm overflow (CSO) is identified as a high spiller. The nearby river has moderate WFD status due to pollution (diffuse and intermittent) and urban development.
Solution: | Option 1: Nature based solution of reedbeds with landscaping and re-routing public footpaths to create an amenity area. Option 2: Increase size of pipe downstream of overflow to create online storage.
Source of data for completing appraisal: | The location of the solution needed is known, and observed data informs the pre-solution state. Modelling of spills informs the impacts on pollution incidents, and other values are estimated from past data, e.g. number of young people engaged.
Appraisal years: | 2023-24 to 2072-73, 50 years (inclusive of start and end years)
Step 1: Select the relevant Service Measures to represent the solution
| Service Measure | Impact category | Units
| Health and safety (public & employees) | Ill health leading up to 6 days absence | Number of people affected
| External contacts | Customer Complaint | Nr of complaints
| Pollution Incidents | Category 2 pollution incident (wastewater) - Significant impact | Nr of incidents
|  | Category 4 pollution incident (wastewater) - No impact | Nr of incidents
| Quality of the water environment | Length of river improved (moderate to good) | km
| Greenhouse gas emissions | GHG emissions - indirect other (scope 3) | tCO2e
| Community engagement | Educational visits (e.g. school engagement) | Number of children benefitting
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- moderate | Area (ha) and Condition (poor, moderate, good)
|  | Urban grassland (greenspace) --- good | Area (ha) and Condition (poor, moderate, good)
|  | Urban wetland --- good | Area (ha) and Condition (poor, moderate, good)
Step 2: Calculate the annual risk position pre solution
| Service Measure | Impact Category | Units | Frequency (pre solution) | Quantity (pre solution) | CVF Value | Risk Value
Investment needs | Health and safety (public & employees) | Ill health leading up to 6 days absence | Number of people affected | 1 | 4 | 1230 | 4920
| External contacts | Customer Complaint | Nr of complaints | 1 | 1 | 41.902 | 41.902
| Pollution Incidents | Category 2 pollution incident (wastewater) - Significant impact | Nr of incidents | 1 | 2 | 164070.3494 | 328140.6989
| Pollution Incidents | Category 4 pollution incident (wastewater) - No impact | Nr of incidents | 1 | 8 | 0 | 0
| Quality of the water environment | Length of river improved (moderate to good) | km | 0 | 0 | -31199.5858 | 0
| Greenhouse gas emissions | GHG emissions - indirect other (scope 3) | tCO2e | 0 | 0 | 443.8239 | 0
Investment opportunities | Community engagement | Educational visits (e.g. school engagement) | Number of children benefitting | 0 | 0 | -30.047 | 0
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- moderate | Area (ha) and Condition (poor, moderate, good) | 1 | 2.5 | -7384.6884 | -18461.7209
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- good | Area (ha) and Condition (poor, moderate, good) | 0 | 0 | -9846.2512 | 0
| Habitat Impact (incl. biodiversity) | Urban wetland --- good | Area (ha) and Condition (poor, moderate, good) | 0 | 0 | -8324.0046 | 0
[6 empty] | Total annual risk value (pre solution): | 314640.8799
Step 3: Calculate the annual risk position post solution
Option 1: Nature based solution of reedbeds with landscaping and re-routing public footpaths to create an amenity area.
| Service Measure | Impact Category | Units | Frequency (post solution) | Quantity (post solution) | CVF Value | Risk Value
Investment needs | Health and safety (public & employees) | Ill health leading up to 6 days absence | Number of people affected | 1 | 0 | 1230 | 0
| External contacts | Customer Complaint | Nr of complaints | 1 | 0 | 41.902 | 0
| Pollution Incidents | Category 2 pollution incident (wastewater) - Significant impact | Nr of incidents | 1 | 0.2 | 164070.3494 | 32814.0699
| Pollution Incidents | Category 4 pollution incident (wastewater) - No impact | Nr of incidents | 1 | 1 | 0
| Quality of the water environment | Length of river improved (moderate to good) | km | 1 | 2 | -31199.5858 | -62399.1716
| Greenhouse gas emissions | GHG emissions - indirect other (scope 3) | tCO2e | 1 | 20 | 443.8239 | 8876.4773
Investment opportunities | Community engagement | Educational visits (e.g. school engagement) | Number of children benefitting | 1 | 500 | -30.047 | -15023.4942
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- moderate | Area (ha) and Condition (poor, moderate, good) | 1 | 0.5 | -7384.6884 | -3692.3442
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- good | Area (ha) and Condition (poor, moderate, good) | 1 | 1 | -9846.2512 | -9846.2512
| Habitat Impact (incl. biodiversity) | Urban wetland --- good | Area (ha) and Condition (poor, moderate, good) | 1 | 1 | -8324.0046 | -8324.0046
[6 empty] | Total annual risk value (post solution): | -57594.7185
Option 2: Increase size of pipe downstream of overflow to create online storage.
| Service Measure | Impact Category | Units | Frequency (post solution) | Quantity (post solution) | CVF Value | Risk Value
Investment needs | Health and safety (public & employees) | Ill health leading up to 6 days absence | Number of people affected | 1 | 0 | 1230 | 0
| External contacts | Customer Complaint | Nr of complaints | 1 | 0 | 41.902 | 0
| Pollution Incidents | Category 2 pollution incident (wastewater) - Significant impact | Nr of incidents | 1 | 0.2 | 164070.3494 | 32814.0699
| Pollution Incidents | Category 4 pollution incident (wastewater) - No impact | Nr of incidents | 1 | 1 | 0
| Quality of the water environment | Length of river improved (moderate to good) | km | 1 | 2 | -31199.5858 | -62399.1716
| Greenhouse gas emissions | GHG emissions - indirect other (scope 3) | tCO2e | 1 | 259 | 443.8239 | 114950.3814
Investment opportunities | Community engagement | Educational visits (e.g. school engagement) | Number of children benefitting | 1 | 0 | -30.047 | 0
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- moderate | Area (ha) and Condition (poor, moderate, good) | 1 | 2.5 | -7384.6884 | -18461.7209
| Habitat Impact (incl. biodiversity) | Urban grassland (greenspace) --- good | Area (ha) and Condition (poor, moderate, good) | 1 | 0 | -9846.2512 | 0
| Habitat Impact (incl. biodiversity) | Urban wetland --- good | Area (ha) and Condition (poor, moderate, good) | 1 | 0 | -8324.0046 | 0
[6 empty] | Total annual risk value (post solution): | 66903.5587
Step 4: Calculate the annual benefit from the solution, PVB and BCR
| Annual benefit from the solution = Total annual risk value (pre-solution) - Total annual risk value (post solution) |  | Option 1: NbS | 372235.5985
|  |  | Option 2: Grey | 247737.3212
| Present Value Cost | Present Value Benefit (PVB) | Appraisal period (years) | Benefit Cost Ratio (BCR)
Option 1: NbS | 7500000 | 9499961.7168 | 50 | 1.2667
Option 2: Grey | 7500000 | 6322595.3596 | 50 | 0.84301
| Appraisal window | Social time preference rate (STPR) | Source
| STPR (standard 0 - 30 years) | 3.5% | HM Treasury Green Book
| STPR (standard 31 - 75 years) | 3%
| STPR (standard 76 - 125 years) | 2.5%
| Discount rate table | [5 empty] | Annual benefit |  | Discounted annual benefit
| Discount Rate Used | Period | Year | Discount rate |  | Year | Option 1: NbS | Option 2: Grey | Option 1: NbS | Option 2: Grey
| 0-30yrs | 0 | 2025 | 1 |  | 2025 | 372235.5985 | 247737.3212 | 372235.5985 | 247737.3212
| 0-30yrs | 1 | 2026 | 0.96618 |  | 2026 | 372235.5985 | 247737.3212 | 359647.9212 | 239359.7307
| 0-30yrs | 2 | 2027 | 0.93351 |  | 2027 | 372235.5985 | 247737.3212 | 347485.9142 | 231265.4403
| 0-30yrs | 3 | 2028 | 0.90194 |  | 2028 | 372235.5985 | 247737.3212 | 335735.1828 | 223444.8698
| 0-30yrs | 4 | 2029 | 0.87144 |  | 2029 | 372235.5985 | 247737.3212 | 324381.8192 | 215888.7631
| 0-30yrs | 5 | 2030 | 0.84197 |  | 2030 | 372235.5985 | 247737.3212 | 313412.3857 | 208588.1769
| 0-30yrs | 6 | 2031 | 0.8135 |  | 2031 | 372235.5985 | 247737.3212 | 302813.8992 | 201534.4704
| 0-30yrs | 7 | 2032 | 0.78599 |  | 2032 | 372235.5985 | 247737.3212 | 292573.8156 | 194719.2951
| 0-30yrs | 8 | 2033 | 0.75941 |  | 2033 | 372235.5985 | 247737.3212 | 282680.0151 | 188134.5846
| 0-30yrs | 9 | 2034 | 0.73373 |  | 2034 | 372235.5985 | 247737.3212 | 273120.7875 | 181772.5456
| 0-30yrs | 10 | 2035 | 0.70892 |  | 2035 | 372235.5985 | 247737.3212 | 263884.8189 | 175625.6479
| 0-30yrs | 11 | 2036 | 0.68495 |  | 2036 | 372235.5985 | 247737.3212 | 254961.1777 | 169686.6163
| 0-30yrs | 12 | 2037 | 0.66178 |  | 2037 | 372235.5985 | 247737.3212 | 246339.3021 | 163948.4216
| 0-30yrs | 13 | 2038 | 0.6394 |  | 2038 | 372235.5985 | 247737.3212 | 238008.9875 | 158404.272
| 0-30yrs | 14 | 2039 | 0.61778 |  | 2039 | 372235.5985 | 247737.3212 | 229960.3744 | 153047.6058
| 0-30yrs | 15 | 2040 | 0.59689 |  | 2040 | 372235.5985 | 247737.3212 | 222183.9366 | 147872.0829
| 0-30yrs | 16 | 2041 | 0.57671 |  | 2041 | 372235.5985 | 247737.3212 | 214670.4702 | 142871.5777
| 0-30yrs | 17 | 2042 | 0.5572 |  | 2042 | 372235.5985 | 247737.3212 | 207411.0823 | 138040.1717
| 0-30yrs | 18 | 2043 | 0.53836 |  | 2043 | 372235.5985 | 247737.3212 | 200397.181 | 133372.1466
| 0-30yrs | 19 | 2044 | 0.52016 |  | 2044 | 372235.5985 | 247737.3212 | 193620.4647 | 128861.9774
| 0-30yrs | 20 | 2045 | 0.50257 |  | 2045 | 372235.5985 | 247737.3212 | 187072.9128 | 124504.326
| 0-30yrs | 21 | 2046 | 0.48557 |  | 2046 | 372235.5985 | 247737.3212 | 180746.7756 | 120294.0347
| 0-30yrs | 22 | 2047 | 0.46915 |  | 2047 | 372235.5985 | 247737.3212 | 174634.5658 | 116226.1205
| 0-30yrs | 23 | 2048 | 0.45329 |  | 2048 | 372235.5985 | 247737.3212 | 168729.0491 | 112295.7686
| 0-30yrs | 24 | 2049 | 0.43796 |  | 2049 | 372235.5985 | 247737.3212 | 163023.2358 | 108498.3272
| 0-30yrs | 25 | 2050 | 0.42315 |  | 2050 | 372235.5985 | 247737.3212 | 157510.3728 | 104829.3016
| 0-30yrs | 26 | 2051 | 0.40884 |  | 2051 | 372235.5985 | 247737.3212 | 152183.9351 | 101284.3494
| 0-30yrs | 27 | 2052 | 0.39501 |  | 2052 | 372235.5985 | 247737.3212 | 147037.6184 | 97859.2748
| 0-30yrs | 28 | 2053 | 0.38165 |  | 2053 | 372235.5985 | 247737.3212 | 142065.3318 | 94550.0239
| 0-30yrs | 29 | 2054 | 0.36875 |  | 2054 | 372235.5985 | 247737.3212 | 137261.1901 | 91352.6801
| 0-30yrs | 30 | 2055 | 0.35628 |  | 2055 | 372235.5985 | 247737.3212 | 132619.5074 | 88263.4591
| 31-75yrs | 31 | 2056 | 0.39999 |  | 2056 | 372235.5985 | 247737.3212 | 148889.4544 | 99091.7439
| 31-75yrs | 32 | 2057 | 0.38834 |  | 2057 | 372235.5985 | 247737.3212 | 144552.8683 | 96205.5766
| 31-75yrs | 33 | 2058 | 0.37703 |  | 2058 | 372235.5985 | 247737.3212 | 140342.5906 | 93403.4724
| 31-75yrs | 34 | 2059 | 0.36604 |  | 2059 | 372235.5985 | 247737.3212 | 136254.9423 | 90682.9829
| 31-75yrs | 35 | 2060 | 0.35538 |  | 2060 | 372235.5985 | 247737.3212 | 132286.3518 | 88041.731
| 31-75yrs | 36 | 2061 | 0.34503 |  | 2061 | 372235.5985 | 247737.3212 | 128433.3512 | 85477.4087
| 31-75yrs | 37 | 2062 | 0.33498 |  | 2062 | 372235.5985 | 247737.3212 | 124692.574 | 82987.7755
| 31-75yrs | 38 | 2063 | 0.32523 |  | 2063 | 372235.5985 | 247737.3212 | 121060.7515 | 80570.6558
| 31-75yrs | 39 | 2064 | 0.31575 |  | 2064 | 372235.5985 | 247737.3212 | 117534.7102 | 78223.9377
| 31-75yrs | 40 | 2065 | 0.30656 |  | 2065 | 372235.5985 | 247737.3212 | 114111.3691 | 75945.5705
| 31-75yrs | 41 | 2066 | 0.29763 |  | 2066 | 372235.5985 | 247737.3212 | 110787.737 | 73733.5636
| 31-75yrs | 42 | 2067 | 0.28896 |  | 2067 | 372235.5985 | 247737.3212 | 107560.9097 | 71585.9841
| 31-75yrs | 43 | 2068 | 0.28054 |  | 2068 | 372235.5985 | 247737.3212 | 104428.0677 | 69500.9554
| 31-75yrs | 44 | 2069 | 0.27237 |  | 2069 | 372235.5985 | 247737.3212 | 101386.4735 | 67476.6558
| 31-75yrs | 45 | 2070 | 0.26444 |  | 2070 | 372235.5985 | 247737.3212 | 98433.4694 | 65511.3163
| 31-75yrs | 46 | 2071 | 0.25674 |  | 2071 | 372235.5985 | 247737.3212 | 95566.4751 | 63603.2197
| 31-75yrs | 47 | 2072 | 0.24926 |  | 2072 | 372235.5985 | 247737.3212 | 92782.9856 | 61750.6987
| 31-75yrs | 48 | 2073 | 0.242 |  | 2073 | 372235.5985 | 247737.3212 | 90080.5685 | 59952.1347
| 31-75yrs | 49 | 2074 | 0.23495 |  | 2074 | 372235.5985 | 247737.3212 | 87456.8626 | 58205.956
| 31-75yrs | 50 | 2075 | 0.22811 |  | 2075 | 372235.5985 | 247737.3212 | 84909.5754 | 56510.6369
[9 empty] | 9499961.7168 | 6322595.3596